CLINICAL PRACTICE STANDARD –– Aeromedical Operations – AO.CLI.04 – Ultrasound & Ultrasound Guided Procedures

| Document No. | AO.CLI.04 |  |
| --- | --- | --- |
| File No. | D36223/23 |  |
| Date issued | 21 December 2023 |  |
| Contents | Clinical Practice Standard | AO.CLI.04 – Ultrasound & Ultrasound Guided Procedures |
|  | Attachments | N/A |
| Associated Policy Directive/s and/or Operating Procedures/s | N/A |  |
| Directorate | Aeromedical Operations |  |
| Author Branch |  |  |
| Branch Contact | Executive Assistant to Executive Director – AO, Phone: 02 9553 2212 |  |
| Summary | The purpose of this procedure is to ensure the appropriate application and interpretation of ultrasound technology during prehospital and retrieval missions, safe performance of ultrasound guided procedures and appropriate management and decontamination of equipment. |  |
| Applies to | NSW Ambulance aeromedical medical crew. |  |
| Review Date | Nov 2025 |  |
| Previous Reference | Nil |  |
| Status | Active |  |
| Approved by | Executive Director, Aeromedical Operations |  |
| Related Legislation Related Documents | Nil Nil |  |

CLINICAL PRACTICE STANDARD – Aeromedical Operations – AO.CLI.04 – Ultrasound & Ultrasound Guided Procedures

- Introduction

- Point of care ultrasound enhances critical care by means of procedural guidance and improved diagnosis of life-threatening conditions.

- Ultrasound is carried as part of the standard equipment for all clinical missions.

- Ultrasound is frequently used by the service with over 25% of patients being scanned.

- The predominant modalities used are EFAST and basic echocardiography as well as procedural guidance for vascular access and regional anaesthesia.

- Pre-hospital ultrasound can be performed to a high-level of accuracy after completion of a one-day course1.

- Pre-hospital ultrasound use is now supported by a significant evidence base2-5; however monitoring of its application is advisable to ensure appropriate use and interpretation.

- Purpose

The purpose of this procedure is to ensure the appropriate application and interpretation of ultrasound technology during prehospital and retrieval missions, safe performance of ultrasound guided procedures and appropriate management and decontamination of equipment.

- Procedure

3.1	Pre-hospital Indications

- Ultrasound prior to transport is only indicated when it is likely to influence the resuscitation of the patient.

  - Identification of pneumothorax or haemothorax in a shocked or hypoxaemic patient when thoracostomy is under consideration.

  - Identification of pericardial fluid in blunt traumatic arrest prior to pericardial decompression attempts.

  - Identification of peritoneal fluid to assist triage in a multi-casualty scene or communication en-route to hospital.

  - Peripheral nerve or fascial plane block to facilitate extrication, splintage or optimise analgesia.

  - Identification of cardiac standstill in out-of-hospital cardiac arrest, as a decision aid for ceasing resuscitative efforts6.

  - Note: The need for ultrasonography is not mandated in these clinical scenarios but should be undertaken on clinical judgment. To assist in clinical decisions and patient handover FAST scanning for additional diagnostic information may be completed en-route to hospital.

  - Prehospital ultrasound has a sensitivity of 25% and specificity of 96%.  Beware of using ultrasound to reliably exclude diagnoses and consider repeating negative scans when indicated.

TIME ON SCENE MUST NOT BE PROLONGED BY NON-CONTRIBUTORY SONOGRAPHY

3.2	Inter-hospital Indications

  - Central and peripheral vascular access

  - Shock assessment.

  - Other clinical indications the retrieval physician is competent to perform.

3.3	Nerve and Fascial Plane Blocks

  - Single-shot nerve blocks and fascial plane / compartment blocks (fascia iliaca block and serratus anterior plane block) may be performed by clinicians after a balanced assessment of patient benefits vs risks including logistics and transport plan.

  - Consider discussion of this assessment with the DRC

  - The maximum recommended dose of ropivacaine is 3mL/kg

  - For compartment blocks dilute 0.75% 50:50 with 0.9% saline to make 0.375%.  Administer in the following volumes:

      - < 60 Kg = 30mL

      - 61-70 Kg = 35mL

      - > 70 Kg = 40mL

      - For bilateral blocks the dose should be divided between the two sides

  - For single-shot nerve blocks use 0.75% ropivacaine

A STOP BEFORE YOU BLOCK SHOULD BE PERFORMED BEFORE PERFORMING ANY COMPARTMENT BLOCK OR NERVE BLOCK (SEE APPENDIX 1)

3.5	Credentialing

  - The Sonography Training Oriented to Retrieval Medicine (STORM) is a one-day ultrasound training course run by NSW Aeromedical Operations. It is recognised by the Australasian Society for Ultrasound in Medicine (ASUM) as an accredited CCPU unit provider for both EFAST and Echo in Life Support.

  - A formal accreditation program is available to doctors and paramedics following completion of the STORM course.7

  - Ultrasound equipment may be used when the following criteria are met:

  - Applications for which the doctor would normally use ultrasound in their hospital of employment8 without supervision.

  - External or in-house formal training has been completed for the specific ultrasound use being applied.8

  - Introductory training completed and currently undertaking a credentialing/scan review process (N.B. saving of all images in this circumstance is mandatory)

3.6	Infection Control, Decontamination & Equipment Management

  - Daily medical checks will ensure the ultrasound unit has adequate battery charge (including a spare) and consumables.

  - Sterile probe covers should be used for all ultrasound-guided procedures and where contact with blood / body fluids or broken skin is anticipated.  Single use, sterile gel should be used for all needling procedures.

  - Equipment faults or damage should be reported to the Duty Retrieval Consultant (DRC) in the first instance or to the Aeromedical Operations Clinical Leads for Ultrasound.

  - Unserviceable equipment to be tagged and placed in DRC office or Base Manager office. An IMS+ is also to be placed.

3.7	Monitoring

  - Ultrasound use must be documented in the clinical record on the retrieval case sheet and in the Ultrasound Registry on the retrieval database.

  - Diagnostic ultrasounds must have images or clips stored on AirMaestro to enable subsequent review. This is not required for non-diagnostic procedures such as line placement and nerve blocks or when hospital machines are utilised.

  - Ultrasound clinical leads will review all ultrasound reports and audit all saved images/loops for quality and accuracy. This audit will be at Clinical Governance meetings.

  - The KPI for diagnostic ultrasound image saving is 90%.

  - Efforts should be taken to ascertain ultrasound accuracy through advanced imaging or operative findings on 24 hour-follow-up. This is especially important if the treating clinician requests this for accreditation purposes.

  - Low-level disinfection (LLD) is required after scanning over unbroken skin.  This may be performed with a TGA approved disposable cleaning wipe or system.

  - High-level disinfection (HLD) should be performed after all needling procedures (regardless of the use of a sterile probe cover), after scanning over broken skin or where there is contact with blood or body fluids.  This may be performed with high level liquid disinfectant or wipe systems e.g. Tristel Trio.  Records of HLD should be kept to allow traceability.

- References

- 1 Walcher F, Kirschning T, Müller MP, Byhahn C, Stier M, Rüsseler M, et al. Accuracy of prehospital focused abdominal sonography for trauma after a 1-day hands-on training course. Emergency Medicine Journal. 2010 Apr 30;27(5):345–9.

- 2 O’Dochartaigh D, Douma M. Prehospital ultrasound of the abdomen and thorax changes trauma patient management: A systematic review. Injury. 2015 Oct 31;46(11):2093–102.

- 3 Sayed El MJ, Zaghrini E. Prehospital emergency ultrasound: a review of current clinical applications, challenges, and future implications. Emerg Med Int. 2013;2013:531674.

- 4 Hoyer HX, Vogl S, Schiemann U, Haug A, Stolpe E, Michalski T. Prehospital ultrasound in emergency medicine: incidence, feasibility, indications and diagnoses. European Journal of Emergency Medicine. 2010 Sep 30;17(5):254–9.

- 5 http://resus.me/prehospital-ultrasound.

- 6 Aichinger G, Zechner PM, Prause G, Sacherer F, Wildner G, Anderson CL, et al. Cardiac movement identified on prehospital echocardiography predicts outcome in cardiac arrest patients. Prehosp Emerg Care. 2012 Apr;16(2):251–5.

- 7 Greater Sydney Area HEMS. STORM Ultrasound. 2015. http://sydneyhems.com/training/sonography-training-oriented-to-retrieval-medicine/Access October 2015.

- 8 Policy on the Use of Bedside Ultrasound by Emergency Physicians.  https://www.acem.org.au/getattachment/797900b1-8d0d-40f7-887a-6cccb3ba7d6c/Policy-on-the-Use-of-Bedside-Ultrasound-by-Emergen.aspx. Accessed October 2015.

- Fascia iliaca block guide. A method of preoperative pain management in older people with acute hip fractures. September 2022. Agency for Clinical Innovation. NSW Government.

- Partyka C, Coggins A, Bliss J, Burns B, Fiorentino M, Goorkiz P, Miller M. A multicenter evaluation of the accuracy of prehospital eFAST by a physician-staffed helicopter emergency medical service. Emerg Radiol. 2022 Apr;29(2):299-306

# APPENDICES

- Stop before you block procedure

REVISION HISTORY

| Version (Document #) | Amendment notes |
| --- | --- |
| Version 5.0 | - Change in title to include ultrasound guided procedures - Addition of nerve and fascial plane blocks and ultrasound guided procedures - Addition of guidance regarding local anaesthetic use - Addition of ‘stop before you block’ for nerve and fascial plane blocks - Addition of cleaning and decontamination standards |
| Version 4.0 Issued September 2019 | - Updated for iViz US - Updated for STORM Course/Credentialling - New QA Process |
| Version 3.0 Issued 16 September 2016 | - Reference to Senior Retrieval Consultant (SRC) changed to Duty Retrieval Consultant (DRC). - Expanded introduction, including statistics on ultrasound usage, follow-up, and increasing evidence base for pre-hospital ultrasound. - Increased detail on credentialing and the introduction of the STORM course. - Transition to new format. Approved by Executive Director, Health Emergency & Aeromedical Services. |
| Version 2.0 Issued 30 January 2015 | Approved by Executive Director, Health Emergency & Aeromedical Services. |

APPENDIX 1: Stop before you block procedure: